## Slide 1: CBA Student Presentations Josh Lifton Hong Ma Responsive Environments Group

## Slide 2: Hong Ma
RESPONSIVE ENVIRONMENTS
3D Volumetric Sensing Using Resonant RF Tags
Detect passive resonant tags inductively coupled to coil
Locate and uniquely identify an ensemble of tags to describe meaningful 3D shapes
Do this in real-time to allow an interaction between the physical model and virtual model

## Slide 3: Nanogate Molecular Instrument in Collaboration with James White and Prof. Slocum’s group
The Nanogate is a MEMS device that is designed to open and close a nanometer sized gap.
Control gate opening by deflecting the cantilevered plate on the outside of the silicon disc.
We hope to control the gate opening and use it to filter and sort biomolecules such as proteins and DNA.
RESPONSIVE ENVIRONMENTS

## Slide 4: Nanogate Molecular Instrument
Experimental Issues
Thermal Drift
Vibration
Displacement measurement (alignment)
Repeatability
RESPONSIVE ENVIRONMENTS

## Slide 5: Results: 10 steps
RESPONSIVE ENVIRONMENTS

## Slide 6: Results: 1 Step, 2nm Resolution!
RESPONSIVE ENVIRONMENTS