## Slide 1: Embedded TCP/IP Briefing on industrial activities Kevin Sweeney VP Engineering Rainer Wischinski VP Marketing

## Slide 2: What we do:
Design, manufacture and install innovative “smart building” systems to assure that our customers’ facility is secure, comfortable and efficient:
  HVAC control
  Environmental alarm monitoring
  Security management
  Card access control
  Digital video surveillance, and more

## Slide 4: Embedded TCP/IP - Status
Ethernet
RS485
XML
SVG
VoiceXML
WML
HTML
Server-side scripting
TCP/IP (1992)
HTTP (1996)
SNMP
embedded Web Server

## Slide 5: web.Client
Site Web Server
embedded Web Server

## Slide 6: Future Plans
Embedded SMTP
Embedded POP3
Embedded Web Services
Embedded TCP/IP at the unitary controller level (and further, e.g. I/O?)

## Slide 7: BACnet over embedded TCP/IP ?

## Slide 8: Benefits of BACnet
“Free”
ANSI Standard - Maintained by ASHRAE
Global support
Designed for Building Control
Can be implemented in devices of “any” size
Extensible
Not tied to present technology

## Slide 9: BACnet
Objects
  inputs, outputs, values, schedule, file, program, loop, command, ..
Services
  alarm, event, file access, object access, ..
Transport
  Ethernet, MSTP, PTP, ARCNET, ..
XML?
SOAP?
Embedded IP?