## Slide 1: Energy Efficiency and Intelligent Power Plants
Rameshbabu R S
10th May, 2006
The Center For Bits And Atoms
MIT

## Slide 2: Honeywell International Inc
Broad and Diverse Business, Technologies and Products

## Slide 3: Context for Industrial Energy Efficiency
Emission
Demand
Generation
Plant Performance Management
Distributed Demand Management
Equipment Performance Optimization

## Slide 4: Key Components of Intelligent Power plant
Process monitoring and optimization
Plant and Unit performances analysis
Economical analysis of plant for optimization
Schedule optimization
Advanced control technologies
Equipment health management

## Slide 5: Process Monitoring, Optimization & Mgmt
Real-time Process data collection
Real-time process statistics
Real-time process monitoring
Schematics visualization & analysis
Reports Generation

## Slide 6: Performance Calculation & Analysis
Plant Performance
Unit Performance
Mass and Energy Balance
Boiler
Turbine
Feedwater Heater
Condenser
Cooling Tower
Air Preheater
Feedwater Pump
Condensing Pump
Circulating Pump
Induced Draft Fans
Force Draft Fans
Primary Air Fans
Combustion Turbine

## Slide 7: Economical analysis and optimal operation guidance
Calculate and compare between the actually controllable parameters and expected parameters to obtaining the energy losses
Analyze the reasons of deviation by expert system, and providing the operation direction
Primary Controllable Losses
  Main Steam Pressure
  Main Steam Temperature
  Reheat Steam Temperature
  Carbon Content of Fly Ash
  More…
Primary uncontrollable Losses
  RH Pressure Loss
  Fuel Thermal Value
  HP Turbine Efficiency
  More…

## Slide 8: Optimal Operational Schedule
Receive the instruction from EMS (Energy Management System), then distribute the load to each unit, meanwhile reduce the gross coal consumption and ensure safe, steady and economical running.
Integrate the equal Incremental Rate and Neural Network arithmetic to predict the load variation.
Consider all restricted conditions and running steadily, to ensure running safely and economically.
Flexible running modes, and satisfy various conditions.
E.g. Sootblowing
  How to measure & monitor the cleanliness or fouling?
  How to quantify the degree of contamination?
  How to measure the change in heat transfer efficiency of the surface?

## Slide 9: Advanced Control Technology
E.g. Advanced Combustion Control
  To optimize the excess air in the combustion process to decrease CO emission
  Calculate the best relationship between oxygen, air flow, coal supply, main steam flow and so on
Online Performance Test
  Boiler Performance Test
  Turbine Performance Test
  Condenser Performance Test
  Air Preheater Leakage Test
  Vacuum Leakage Test

## Slide 10: Typical Sol: Industrial Power Plant
Several boilers operating to common steam header
Backpressure turbine(s) (w/extractions)
Condensing turbine(s)
(w/extractions)
Steam Let-down Station(s)
ACC – Advanced Combustion Control
ELA-B – Economic Load Allocation for Boiler
ELA-T – Economic Load Allocation for Turbine
TLC – Tie Line Control
MPC – Master Pressure Control

## Slide 11: Sample Optimization Benefits
HPI/Chemical plant relying on steam delivery from in-house boiler unit
Scenario for Industrial Power:

## Slide 12: Sample Optimization Benefits
CHP selling heat, power, and power ancillary services
Scenario for District Heating:

## Slide 13: Summary
Specific Benefits of the Industrial Energy Efficiency Sol
  Improved stability of steam headers, responsiveness to steam demand
  Increased power generation flexibility
  Minimized operations cost
  Overall efficiency increase
  Fuel cost savings
  CO2 Emission Reduction
A comprehensive Intelligent Power Plan is aimed to improve the overall Energy Efficiency in following aspects
  Improved Generation Efficiency
  Improved Energy Consumption Efficiency
  Reduced Emission

## Slide 14
We are building a world that’s…
Safer and more secure
More comfortable and energy efficient
More innovative and productive
We are Honeywell.
Aerospace
Automation Control
Transportation Systems
Specialty Materials

## Slide 15
www.honeywell.com