## Slide 1: Dielectric Spectroscopy in a Variable Nanometer Gap
Develop an instrument to confine fluids in nanometer-thin films
Study their properties using electrochemical impedance measurements
Hypothesis
Take advantage of nanoscale effects of fluids to create a new type of electrochemical sensor
Complementary instrument to NMR, DLS, UV-Vis, atomic absorption.
Prof. Alexander H. Slocum and Hongshen Ma
Notes: DLS=dynamic light scattering, UV-Vis= UV, visible spectroscopy.

## Slide 2: Applications
Studying the electrokinetic properties of large molecules
Prof. Al Grodzinsky: aggrecan
  Hydrodynamic permeability
  Rigidity of the aggrecan core
Low-cost blood osmolality meter
Battery and supercapacitor research
Low-cost drinking water monitor
Monitoring industrial chemicals (low conductivity fluids, e.g. oils and cryogenic fluids)
Aggrecan monomer
50nm
Notes: Aggrecan: Brush-like molecule found in cartilage tissue, 400nm long, made individually by cell. Health of aggrecan determines the health of your joints!

## Slide 3
Flat versus Spherical Electrodes
Difficult to maintain parallelism
Electrodes always tangent
Tungsten carbide or Si-Nitride ball, Ra = 4nm, ~$6 each
Si wafer, Ra = 1nm

## Slide 4: Disposable Fluid Cell Cartridge
Si-Nitride ball, 60nm Pt film
*Patent Pending

## Slide 5: Flexure Mechanism
*Patent Pending

## Slide 6: Results