## Slide 1: Internet Ø: Introduction
Karen Sollins
MIT CSAIL
October 12, 2006

## Slide 2: Why?
Consider:
  Lighting
  Air temp and flow
  Power mgmt
  Access control
  Elevators
  Sensors/embedded devices
Objectives
  Extremely inexpensive
  Extremely small
  Low communication footprint: slow and low volume
  Direct peer communication (where possible)
Layer 2/
Modulation
Medium
IP
Layer 2/
Modulation
Medium
IP
Layer 2/
Modulation
Medium
IP
Layer 2/
Modulation
Medium
IP
IØ

## Slide 3: Design: Criteria and Encoding
Medium independence
Collision/reflection avoidance: bit length longer than net
Simplicity
End-to-end modulation
UDP, TCP
IP
SLIP
ASCII
8N1
start
stop
0
1
0
0
1
0
0
1
Δt

## Slide 4: Application Support
THTP
  Single packet payload only
  Minimum HTTP support: GET, POST, reply, extremely limited error msgs
  Standard HTTP format
Scalable encryption: basis for authentication, privacy, integrity

## Slide 5: Looking forward
Federation:
  Multiple Internet Ø nets interconnected: how to allow individual nets retain simplicity
  Integrating Internet Ø nets with larger Internet
Commercial potential: device, power and control, networking, building industry
Services, functionality, support structure between THTP and applications

## Slide 6: Documents
Internet 0: Inter-device Internetworking, Krikorian, MS Thesis, 2004
The Internet of Things, Gershenfeld, Krikorian, Cohen, Scientific American, Oct. 2004
SEA: A Scalable Encryption Algorithm for Small Embedded Applications, Standaert, Piret, Gershenfeld, Quisquater, ECRYPT Workshop on RFID and Lightweight Crypto, Graz, Austria, 2005
Design Issues in Internet 0 Federation, Sollins, Li, MIT Dspace
Internet Ø: Interdevice Internetworking, Gershenfeld, Cohen, submitted for pub in IEEE Circuits and Devices Mag.
Internet 0: A proposal for End-to-End Modulation, Gershenfeld, Cohen, Snide, Lynn, to be submitted to IETF as Informational RFC
Trivial Hypertext Transfer Protocol (THTP), Gershenfeld, Snide, Johnson, Lynn, submitted to IETF as Informational RFC

## Slide 7: Speakers
Standardization, Rob Beverly, MIT
IØ interfaces for devices and controllers, Todd Snide, Schneider Electric
IØ in Linksys routers, Kerry Lynn,Cisco
IØ and SunSpot: Doug Johnson, Danny Cohen, Sun Microsystems
Scalable Encryption for Embedded Applications, Jean-Jacques Quisquater, Université Catholique de Louvain