## Slide 1: Campus Energy Use Intelligent Infrastructure for Energy Efficiency
May 25, 2007
Peter Cooper
Dept of Facilities, Manager of Sustainable Engineering and Utility Planning

## Slide 2
ENERGY FLOW TO BUILDINGS
CUP
HEAT
COOLING
LIGHTING
FANS/PUMPS
PLUG LOADS
HEAT
COOLING
LIGHTING
FANS/PPS
PLUG LOADS
OIL
GAS
ELECTRICITY
OIL
GAS
ELECTRICITY
STEAM
CHILLED WATER
ELECTRICITY
BUILDINGS
WATER

## Slide 3: District Steam System

## Slide 4: Chilled Water

## Slide 5: Campus Electrical

## Slide 6: ENERGY DATA FY2006

## Slide 8: Our Greenhouse Gas Profile 1990-2020
118,000 Ton Reduction Needed for 2005 Levels
We Are Here
A GHG Inventory shows our emissions come from:
  Building energy consumption 90%
  Transportation (including commuting) 9.5%
  Solid waste 0.5%
We can reduce our emission to 2005 levels (or better) through several key strategies:
<date/time>
<number>
A revolving loan fund
Energy conservation
Co-generation expansion
Sustainable design
Renewable power
Grants for student research
Renewable
power
offers
additional
reductions

## Slide 11: Cogen Energy Flow