## Slide 1
Frontiers in 3D scanning
Prof Phil Withers
Manchester X-ray imaging Facility
University of Manchester

## Slide 2: Volume Scanning
Computer Tomography (CT)
The great advantage of computer tomography is that not only do you get the external surface geometry you capture any internal features as well.
The principle is simple; namely to collect a series of 2D projections acquired from different angles from which an image of the original 3D volume can be reconstructed using a computer algorithm
Range of resolutions from mm to tens of nanometers

## Slide 3: From 3D object to 3D fabrication
3D fabrication

## Slide 4: Multiscale 3D Imaging for Fabrication
Resolution length scales
Lab. X-ray
10 m
1 m
50 nm
1mm
5 nm
Synchrotron X-ray
Electron

## Slide 5
Very Large object scanning
Lab X-ray systems
200mm spatial resolution
6MeV X-ray Source
Accurate 3D model

## Slide 6
Large object imaging
5mm resolution (say);
320kV microfocus
500mm objects
5-axis 100kg capacity CT manipulator

## Slide 7
Large object fabrication
Tailored implant design

## Slide 8
Micron Scale
0.7-1.0mm spatial resolution (Lab or synchrotron)
150mm max samples size typical
Synchrotron 1 tomograph per second/Lab 1 per 4 hours

## Slide 9: Phase contrast
1mm Wasp
fossil
Notes: Zn-oxide is artificially grown with anodic polarisation - and you would expect (a) Zn wire in the core -
(ii) a less dense region + eventually some cavities + (iii) a dense / compacted layer (may be with some pores - thats' what I should have a loook at) (iV) an outer layer with many pores and some crystalls !

## Slide 10
Nanotomography (50nm)
In scanning electron microscope systems
In SEM X-ray CT
In SEM serial sectioning
Lens based lab. X-ray systems

## Slide 11
Nanotomography (50nm)
Tailored optics/mircofluidics, MEMS devices, membranes, etc
Berenschot et al.

## Slide 12
Concluding remarks
A range of modalities for scanning objects in true 3D (including interior structure)
X-ray energy must be higher the larger the object
Electron tomography well suited to 3D scanning at submicron scales
Packages exist to convert 3D tomography images to CAD for 3D fabrication